Tentative program

Electron microscopy block course at the Dalian Institute of Physical Chemistry

by

Prof.  Armin Feldhoff

Leibniz University Hannover

On Monday, instrument check for SEM and TEM will be made together with lab manager to be prepared for practical exercises SEM-1 to SEM-9 and TEM-1 to TEM-6.

|  |  | Tuesday(3.4) | Wednesday(3.5) |  | Thursday(3.6) |  |
| --- | --- | --- | --- | --- | --- | --- |
| Lectures | 8:30-10:00 | Lecture 1-1 | Lecture 2-1 |  | Lecture 3-1 |  |
|  | 10:00-10:30 | break | break |  | break |  |
|  | 10:30-12:00 | Lecture 1-2 | Lecture 2-2 |  | Lecture 3-2 |  |
| 地点 |  | 生物楼学术报告厅 | 生物楼学术报告厅 |  | 能源楼1号楼1楼会议室 |  |
|  | 12:00-14:00 | break | Break |  | Break |  |
| Exercises | 14:00-15:00 | SEM-1 | SEM-4 | TEM-1 | SEM-7 | TEM-4 |
|  | 15:00-16:00 | SEM-2 | SEM-5 | TEM-2 | SEM-8 | TEM-5 |
|  | 16:00-17:00 | SEM-3 | SEM-6 | TEM-3 | SEM-9 | TEM-6 |
| 地点 |  | 能源楼会议中心地下电镜室 |  |  |  |  |

Lectures

Lecture 1-1, Basics of the scanning electron microscope I (SEM)

de-Broglie wave length, Lorentz force, electron sources, electron lenses (what does a lens do?), detectors, microscope column,  beam-specimen interaction, excitation volume, secondary electrons, backscattered electrons

Lecture 1-2, Basics of the scanning electron microscope II (SEM)

high-resolution SEM, specimen charging, depth of focus, energy-dispersive X-ray spectroscopy (EDXS)

Lecture 2-1, Basics of the transmission electron microscope I (TEM)

lens in wave optics, resolution limit, Fourier optics

Lecture 2-2, Basics of the transmission electron microscope  II (TEM)

the 3-stage TEM, absorption contrast, selected area electron diffraction

Lecture 3-1, The scanning transmission electron microscope (STEM)

from parallel to convergent illumination, local elemental analysis

Lecture 3-2, Some practical advice (SEM  + TEM)

sample preparation, avoiding beam damage

Practical Exercises

SEM (9 courses times 4 students = 36 students; courses SEM-1 to SEM-3 given by Prof. Feldhoff; courses SEM-4 to SEM-9 given by lab manager)

Demonstration of effect of working distance (objective lens focal length) on resolution and depth of focus.  secondary electron imaging and energy-dispersive X-ray spectroscopy.

TEM (6 courses times 3 students = 18 students; all courses given by Prof. Feldhoff)

Demonstration of absorption contrast (bright-field, dark field) and selected area electron diffraction. how to avoid damage of beam-sensitive materials during observation.