On Wednesday 24 August 2016, instrument check for SEM and TEM will be made together with lab manager Prof. Miao Shu to be prepared for practical exercises SEM-1 to SEM-8 and TEM-1 to TEM-8.

24 to 26 August 2016

|  |  | Wednesday 2016/8/24 |  | Thursdsay 2016/8/25 |  | Friday 2016/8/26 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lectures | 8:30-10:00 | Lecture 1-1 |  | Lecture 2-1 |  | Lecture 3-1 |  |
|  | 10:00-10:30 | break |  | break |  | break |  |
|  | 10:30-12:00 | Lecture 1-2 |  | Lecture 2-2 |  | Lecture 3-2 |  |
| Exercises | 12:00-14:00 | break |  | Break |  | Break |  |
|  | 14:00-15:00 | SEM-1 | TEM-1 | SEM-4 | TEM-7 | SEM-7 | TEM-7 |
|  | 15:00-16:00 | SEM-2 | TEM-2 | SEM-5 | TEM-8 | SEM-8 | TEM-8 |
|  | 16:00-17:00 | SEM-3 | TEM-3 | SEM-6 | TEM-9 | SEM-9 | TEM-9 |

Lectures

Lecture 1-1, Basics of the scanning electron microscope I (SEM)

de-Broglie wave length, Lorentz force, electron sources, electron lenses (what does a lens do?),detectors, microscope column, beam-specimen interaction, excitation volume, stigmators, deflectors

Lectures 1-2 + 1-3, Basics of the scanning electron microscope II (SEM)

beam-specimen interaction, detectors, secondary electrons (SE), backscattered electrons (BSE), depth offocus, in-lens detection (high-resolution SEM), avoiding specimen charging, C s /C C -corrected SEM (ultra-high resolution)

Lecture 2-1, Basics of the transmission electron microscope I (TEM)

history, virology, fundamentals, lens in wave optics, the 3-stage TEM, optical path for imaging and diffraction, resolution limit, Fourier optics, diffraction absorption contrast

Lecture 2-2, Basics of the transmission electron microscope II (TEM)

phase contrast (high-resolution TEM), phase-amplitude diagrams,/4 phase plate, phase-contrast transfer function, point resolution, delocalisation, Cs-corrected microscope, contrast simulation (multisclice method), focal series reconstruction

Lecture 3-1, Diffraction and elemental analysis in the transmission electron microscope

analogies and differences between electron diffraction and x-ray diffraction, selected area electron diffraction (SAED),from parallel to convergent illumination, convergent beam electron diffraction (CBED),scanning transmission electron microscopy (STEM), analytical electron microscopy (AEM), x-ray spectroscopy (EDXS, WDXS, EMPA), electron energy-loss spectroscopy (EELS)

Lecture 3-2, Some practical advice (SEM + TEM)

sample preparation, media for image acquisition, avoiding beam damage

Practical Exercises

SEM (courses SEM-1 to SEM-3 given by Prof. Feldhoff;courses SEM-4 to SEM-9 given by lab manager Prof. Miao Shu )

Demonstration of effect of working distance (objective lens focal length) on resolution and depth of focus; secondary electron imaging and energy-dispersive X-ray spectroscopy.

TEM (all courses given by Prof. Feldhoff)

Demonstration of absorption contrast (bright-field, dark field) and selected area electron diffraction;how to avoid damage of beam-sensitive materials during observation.